## SD-Nr. 00000
HPMtool SD-Nr. 00000
| Heat Pump | none
| Dom. Hot Water | none
| Buffer Tank | none
| Heating Circuit 1 | none
| Heating Circuit 2 | none
|  |  | 17 | temp.sensor | N | 16 | 230V
|  |  | 18 | temp.sensor | L | 15 | 230V
|  |  | 19 | temp.sensor | potential for 13 | 14
|  |  | 20 | temp.sensor | relay output | 13
|  |  | 21 | temp.sensor | not used | 12
|  |  | 22 | temp.sensor | relay output | 11
|  |  | 23 | temp.sensor | potential for 9+11 | 10
|  |  | 24 | temp.sensor | relay output | 9
|  |  | 25 | counter/contact | not used | 8
|  |  | 26 | counter/contact | relay output | 7
|  |  | 27 | 0..10V | potential for 5+7 | 6
|  |  | 28 | 0..10V | relay output | 5
|  |  | 29 | ground for 17-28 | not used | 4
|  |  | 30 | not used | relay output | 3
|  |  | 31 | not used | potential for 1+3 | 2
|  |  | 32 | not used | relay output | 1